# Readme – Manual for orientation in attachment of bachelor thesis

The attachment of this thesis is divided to two parts (folders). Folder Functions contains the output of this thesis, functions enabling gridding reconstruction from 3 different sources of MRI data (see figure).  These functions are described in thesis. The examples file contain examples, intended to provide insight into the reconstruction and data processing process.

## SW phantom

Both radial and spiral phantoms described in thesis are provided. Run script /Examples/Phantom/Radial/Radial.m to try reconstructing radial phantom data. The script lets you select out of 3 versions of phantoms which differ in polar undersampling factor.

Run script /Examples/Phantom/Spiral/Spiral.m to reconstruct the outsourced radial phanthom.

## 4.7 T system example

Since the discussion about data from 4.7 T MR system only covers s small part of the thesis, only 1 data file is provided to try the reconstruction on. Run /Examples/47/example47.m and see the result. Feel free to change reconstruction parameters.

## 9.4 T system example

By running /Examples/94/example94.m you get to chose data file to reconstruct. Data files are then placed in /data file. There are several datasets described in more detail in the thesis. Inside data set folder, there are scan files named by the TE of acquisition in milliseconds. If you enter the scan file, hit chose file and the script reconstructs the image stored in that file. Don’t enter pdata, and then hit chose file, this way it will not work.

## Isolated rat brain example

This is a bonus example. Run /examples/Isolated rat brain/decay.m so that series of images is displayed, so 3 ROIs can be set up and run the script again. The decay of individual regions is shown in figure 2.